## Slide 1: TORDENSKJOLDSGADE, 17
PUBLIC LIBRARY
COMMUNITY CENTER
ALBA PÉREZ ASENSIO
BEGA CLAVERO BOSQUE

## Slide 2: SCHEME DESIGN PHASE
TORDENSKJOLDSGADE, 17
BUILDING DESIGN AND STRUCTURAL ANALYSIS
BUILDING SERVICES
  water, sewer, ventilation and heating
  fire and sound
BUILDING PLANNING AND MANAGEMENT
  Project planning
  Final cost estimate
  Personal planning

## Slide 3: STRUCTURAL ANALYSIS
TORDENSKJOLDSGADE, 17

## Slide 4: BUILDING DESIGN
TORDENSKJOLDSGADE, 17

## Slide 5: BUILDING DESIGN
TORDENSKJOLDSGADE, 17

## Slide 6: BUILDING DESIGN
TORDENSKJOLDSGADE, 17

## Slide 7: BUILDING DESIGN
TORDENSKJOLDSGADE, 17

## Slide 8: BUILDING DESIGN
TORDENSKJOLDSGADE, 17
FOUNDATION
NEW STRUCTURE
OLD BUILDING

## Slide 9: FOUNDATION
TORDENSKJOLDSGADE, 17
1
2
3
4

## Slide 10: FOUNDATION
TORDENSKJOLDSGADE, 17
1

## Slide 11: FOUNDATION
TORDENSKJOLDSGADE, 17
2

## Slide 12: FOUNDATION
TORDENSKJOLDSGADE, 17
3

## Slide 13: FOUNDATION
TORDENSKJOLDSGADE, 17
4

## Slide 14: NEW STRUCTURE
TORDENSKJOLDSGADE, 17
5
6
7
8
9
11
10
12
13

## Slide 15: NEW STRUCTURE
TORDENSKJOLDSGADE, 17
5

## Slide 16: NEW STRUCTURE
TORDENSKJOLDSGADE, 17
6

## Slide 17: NEW STRUCTURE
TORDENSKJOLDSGADE, 17
7

## Slide 18: NEW STRUCTURE
TORDENSKJOLDSGADE, 17
8

## Slide 19: NEW STRUCTURE
TORDENSKJOLDSGADE, 17
9

## Slide 20: NEW STRUCTURE
TORDENSKJOLDSGADE, 17
10

## Slide 21: NEW STRUCTURE
TORDENSKJOLDSGADE, 17
11

## Slide 22: NEW STRUCTURE
TORDENSKJOLDSGADE, 17
12

## Slide 23: NEW STRUCTURE
TORDENSKJOLDSGADE, 17
13

## Slide 24: NEW STRUCTURE
TORDENSKJOLDSGADE, 17

## Slide 25: NEW STRUCTURE
TORDENSKJOLDSGADE, 17

## Slide 26: NEW STRUCTURE
TORDENSKJOLDSGADE, 17

## Slide 27: OLD BUILDING
TORDENSKJOLDSGADE, 17

## Slide 28: OLD BUILDING
TORDENSKJOLDSGADE, 17
UPN 200 profile bolded to the brick wall.
Welded L 40 – 4 profile to held steps.

## Slide 29: OLD BUILDING
TORDENSKJOLDSGADE, 17

## Slide 30: OLD BUILDING
TORDENSKJOLDSGADE, 17
Strengthening of the existing timber floor
Upgrading fire
resistance

## Slide 31: BUILDING SERVICES
TORDENSKJOLDSGADE, 17
DESIGN
  Ventilation system
  Sewer
  Water
  Heating
FIRE SOLUTIONS
SOUND REQUIREMENTS

## Slide 32: BS: Ventilation
TORDENSKJOLDSGADE, 17
BASEMENT

## Slide 33: BS: Ventilation
TORDENSKJOLDSGADE, 17
GROUND FLOOR

## Slide 34: BS: Ventilation
TORDENSKJOLDSGADE, 17
1st FLOOR

## Slide 35: BS: Ventilation
TORDENSKJOLDSGADE, 17
2nd FLOOR

## Slide 36: BS: Ventilation
TORDENSKJOLDSGADE, 17
MANZARD

## Slide 37: BS: Ventilation
TORDENSKJOLDSGADE, 17
DANVENT Combi-Unit TC COMBINATION 5
suply air, exhaust air, mixing
2500x1800x1300mm - 810kg
System: Balanced ventilation system eith heat recovering.

## Slide 38: BS:Sewer
TORDENSKJOLDSGADE, 17
BASEMENT

## Slide 39: BS:Sewer
TORDENSKJOLDSGADE, 17
GROUND
FLOOR

## Slide 40: BS:Sewer
TORDENSKJOLDSGADE, 17
1st FLOOR

## Slide 41: BS:Sewer
TORDENSKJOLDSGADE, 17
2nd FLOOR

## Slide 42: BS:Water
TORDENSKJOLDSGADE, 17
BASEMENT

## Slide 43: BS:Water
TORDENSKJOLDSGADE, 17
GROUND
FLOOR

## Slide 44: BS:Water
TORDENSKJOLDSGADE, 17
1st FLOOR

## Slide 45: BS:Water
TORDENSKJOLDSGADE, 17
2nd FLOOR

## Slide 46: BS:Heating
TORDENSKJOLDSGADE, 17
BASEMENT

## Slide 47: BS:Heating
TORDENSKJOLDSGADE, 17
GROUND
FLOOR

## Slide 48: BS:Heating
TORDENSKJOLDSGADE, 17
1st FLOOR

## Slide 49: BS:Heating
TORDENSKJOLDSGADE, 17
2nd FLOOR

## Slide 50: BS:Fire
TORDENSKJOLDSGADE, 17

## Slide 51: BS:Fire
TORDENSKJOLDSGADE, 17
STEEL PROFILES INTUMESCENT PAINTING THICKNESS
HEB 300  Area profile/ perimeter= 1,778 m/ 0,0149 m2= 119.32 m-1
1,911 mm
IPE 270  Area profile/perimeter= 0,9384/0,00459=204,44 m-1
2,2 mm

## Slide 52: BS:Sound
TORDENSKJOLDSGADE, 17

## Slide 53: BS:Sound
TORDENSKJOLDSGADE, 17

## Slide 54: BS:Sound
TORDENSKJOLDSGADE, 17
GYPROC INTERNAL WALLS: TCA 2 ETAGEDÆK
C-profiles 150 thick steel.
261 wide
SOUND REQUIREMENTS:
  58 dB airbourne sound
  58 dB impact sound

## Slide 55: BS:Sound
TORDENSKJOLDSGADE, 17
GYPROC FLOOR: XR 450
Steel profiles XR 70 thick steel
FIRE REQUIREMENTS:
  BS 60
SOUND REQUIREMENTS:
  52 dB airbourne sound
  52 dB reveration
Batten XR 70 -160.
Gyproc rail SK, over the batten
Plating Gyproc GRE ROBUST Ergo

## Slide 56: BPM
TORDENSKJOLDSGADE, 17
PERSONAL PLANING
FINAL COST ESTIMATE
BUILDING SITE MANAGEMENT
PROJECT PLANNING

## Slide 57: BPM: Personal planning
TORDENSKJOLDSGADE, 17

## Slide 58: BPM
TORDENSKJOLDSGADE, 17
PERSONAL PLANING
BUILDING SITE MANAGEMENT
PROJECT PLANNING
FINAL COST ESTIMATE

## Slide 59: BPM: Final Cost Estimate TORDENSKJOLDSGADE, 17

## Slide 60: BPM: Building site management
TORDENSKJOLDSGADE, 17

## Slide 61: BPM: Building site management
TORDENSKJOLDSGADE, 17

## Slide 62: BPM: Building site management
TORDENSKJOLDSGADE, 17

## Slide 63: BPM: Building site management
TORDENSKJOLDSGADE, 17

## Slide 64: BPM: Building site management
TORDENSKJOLDSGADE, 17

## Slide 65: SCHEME DESIGN PHASE
TORDENSKJOLDSGADE, 17
- THANK YOU FOR YOUR ATTENTION -