## Slide 1: TORDENSKJOLDSGADE, 17
PUBLIC LIBRARY
COMMUNITY CENTER
ALBA PÉREZ ASENSIO
BEGA CLAVERO BOSQUE

## Slide 2: CONTENT
TORDENSKJOLDSGADE, 17
THE PROPOSAL
STATIC ANALYSIS
BUILDING DEMANDS
BUILDING SERVICES
BUILDING PLANNING AND MANAGEMENT
DETAIL DESING 1

## Slide 3: THE PROPOSAL
TORDENSKJOLDSGADE, 17
Location

## Slide 4: THE PROPOSAL
TORDENSKJOLDSGADE, 17
The building

## Slide 5: THE PROPOSAL
TORDENSKJOLDSGADE, 17
The building

## Slide 6: THE PROPOSAL
TORDENSKJOLDSGADE, 17
The building

## Slide 7: THE PROPOSAL
TORDENSKJOLDSGADE, 17
PUBLIC LIBRARY
  Small center for community, meeting point
  Place to bring children
  Study place for teenagers
  Rooms for workshops and group activies.
THE BUILDING
  Maintain the outside appearance
  Maintain main structure and load bearings walls
  Change distribution
  Build an extension

## Slide 8: THE PROPOSAL
TORDENSKJOLDSGADE, 17
How it will be like?

## Slide 9: THE PROPOSAL
TORDENSKJOLDSGADE, 17
How it will be like?

## Slide 10: THE PROPOSAL
TORDENSKJOLDSGADE, 17
How it will be like?

## Slide 11: THE PROPOSAL
TORDENSKJOLDSGADE, 17
How it will be like?

## Slide 12: THE PROPOSAL

## Slide 13: THE PROPOSAL

## Slide 14: THE PROPOSAL

## Slide 15: THE PROPOSAL

## Slide 16: THE PROPOSAL

## Slide 17: THE PROPOSAL
TORDENSKJOLDSGADE, 17
Demolition plans

## Slide 18: THE PROPOSAL
TORDENSKJOLDSGADE, 17
Demolition plans

## Slide 19: STATIC ANALYSIS
TORDENSKJOLDSGADE, 17
The structure of the building

## Slide 20: STATIC ANALYSIS
TORDENSKJOLDSGADE, 17
The structure of the building

## Slide 21: STATIC ANALYSIS
TORDENSKJOLDSGADE, 17
The final structure solution
Concrete walls
HEB 300 columns
IPE 270 beams
IPE 160 boyd beams

## Slide 22: BUILDING DEMANDS
TORDENSKJOLDSGADE, 17
U-Value
U-VALUE REQUIREMENTS | 
Table of u-values | U-value W/m2 K
External walls and basement walls in contact with the soil. | 0.20
Ground slabs, basement floors in contact with the soil and suspended upper floors above open air or a ventilated crawl space. | 0.15
Ceiling and roof constructions, including jamb walls, flat roofs and sloping walls directly adjoining the roof. | 0.15
Windows and external doors, including glass walls and hatches to the outside or to rooms that are unheated or heated to a temperature more than 8 K below the temperature in the rooms concerned (does not apply to ventilation openings below 500cm2). | 1.50
Foundations. | 0.12
Joint between external wall, windows or external doors and hatches. | 0.03

## Slide 23: BUILDING DEMANDS

## Slide 24: BUILDING DEMANDS
TORDENSKJOLDSGADE, 17
U-Value
  New constructive elements which solve the demands
CONSTRUCTION SYSTEMS |  | 
New or refurbished elements which reach requirements | U-value W/m2 K | 
Existent external walls. Basement walls and new concrete retaining wall. | ≈ 0.20 0.18 | 
New concrete ground floor with thermical insulation 0.10cm thickness. | 0.05 | 
Thermical insulation in attic. | 0.15 | 
New type of windows and external doors. Not defined yet. | ≈ 1.50 | 
Underpinning in existent foundations | ≈ 0.12 | 
Joint between external wall, windows or external doors and hatches solved with new type windows or external doors. | ≈ 0.03 | 

## Slide 25: BUILDING DEMANDS
TORDENSKJOLDSGADE, 17
Sound
SOUND REQUIREMENTS | 
Table of sound transmisssion | dB
Airborne sound insulation, inside-outside (DS490-class D) | R’w > 50
Airborne sound insulation, classroom horizontal (SBI 216) | R’w > 48
Airborne sound insulation, classroom vertical (SBI 216) | R’w > 53
Noise level from building services (SBI 216) | LAaq < 30
Transmission of impact sound level from corridors (SBI 216) | L’nlw < 58
Transmission of impact sound level from rooms (SBI 216) | L’nlw < 63
Vibration in offices / rooms (SBI 216) | T/second
 | < 30
Reverberation (SBI 216) | < 0.6
 | Stairwells < 1.3

## Slide 26: BUILDING DEMANDS

## Slide 27: BUILDING DEMANDS
TORDENSKJOLDSGADE, 17
Sound
  New constructive elements which solve the demands
CONSTRUCTION SYSTEMS |  | 
New or refurbished elements which reach requirements | dB | 
Existent external walls. | R’w ≈ > 50 | 
Existent internal load-bearing walls. GYPROC system of partition walls XR 70. | R’w ≈ > 50 | 
 | R’w > 48 | 
Existent floors with new isolation. GYPROC system of floors TCA 150. | R’w ≈ > 53 | 
 | R’w > 58 | 
Isolation of ventilation ducts. | LAaq < 30 | 
New suspended plasterboard ceiling with isolation 2cm thik. | L’nlw < 58 | 
New suspended plasterboard ceiling with isolation 2cm thik. GYPROC system of floors TCA 150. | L’nlw < 58 | 
Existent floors with new isolation. GYPROC system of floors TCA 150. | T/second | 
 | NO DATA | -
Existent floors and internal walls. GYPROC systems of floors and partition walls. | NO DATA | -

## Slide 28: BUILDING DEMANDS
Fire
basement

## Slide 29: BUILDING DEMANDS
Fire
ground floor

## Slide 30: BUILDING DEMANDS
Fire
first floor

## Slide 31: BUILDING DEMANDS
Fire
second floor

## Slide 32: BUILDING DEMANDS
TORDENSKJOLDSGADE, 17
Fire
FIRE DEMANDS
CHANGES IN THE PROJECT!
Concrete walls in new extension in both sides.
New fire stair case.
Third floor to create a escape route.
Steel profile intusmecent painting thickness.

## Slide 33: BUILDING DEMANDS
TORDENSKJOLDSGADE, 17
Fire
2. New fire stair case.

## Slide 34: BUILDING DEMANDS
TORDENSKJOLDSGADE, 17
Fire
3. Third floor to create a escape route.

## Slide 35: BUILDING DEMANDS
TORDENSKJOLDSGADE, 17
Fire
4. Steel profile intusmecent painting thickness
HEB 300  Area profile/ perimeter= 1,778 m/ 0,0149 m2= 119.32 m-1
1,911 mm
IPE 270  Area profile/perimeter= 0,9384/0,00459=204,44 m-1
2,2 mm

## Slide 36: BUILDING DEMANDS
TORDENSKJOLDSGADE, 17
New Construction elements: FOLLOW THE DEMANDS
GYPROC FLOOR: TCA 2 150
Steel profiles XR 70 thick steel
FIRE REQUIREMENTS:
  BS 60
SOUND REQUIREMENTS:
  52 dB airbourne sound
  52 dB reveration

## Slide 37: BUILDING DEMANDS
TORDENSKJOLDSGADE, 17
New Construction elements
GYPROC INTERNAL WALLS:
XR 70/70 450 1-1
FIRE REQUIREMENTS:
  BS 60
SOUND REQUIREMENTS:
  58 dB impact sound
Batten XR 70 -160.
Gyproc rail SK, over the batten
Plating Gyproc GRE ROBUST Ergo

## Slide 38: BUILDING SERVICES
TORDENSKJOLDSGADE, 17
BUILDING SERVICES
Ventilation and heating system
Sewerage
Water suply
Technical room

## Slide 39: BUILDING SERVICES
TORDENSKJOLDSGADE, 17
Ventilation
Heating

## Slide 40: BUILDING SERVICES
Ventilation
Heating

## Slide 41: BUILDING SERVICES
Ventilation
Heating

## Slide 42: BUILDING SERVICES
Ventilation
Heating

## Slide 43: BUILDING SERVICES
TORDENSKJOLDSGADE, 17
Ventilation

## Slide 44: BUILDING SERVICES
Ventilation
DANVENT Combi-Unit TC COMBINATION 5
suply air, exhaust air, mixing
2500x1800x1300mm - 810kg
System: Balanced ventilation system eith heat recovering.

## Slide 45: BUILDING SERVICES
TORDENSKJOLDSGADE, 17
Sewerage

## Slide 46: BUILDING SERVICES
TORDENSKJOLDSGADE, 17
Sewerage

## Slide 47: BUILDING SERVICES
Sewerage

## Slide 48: BUILDING SERVICES
Sewerage

## Slide 49: BUILDING SERVICES
Water suply
basement
TORDENSKJOLDSGADE, 17

## Slide 50: BUILDING SERVICES
Water suply
ground floor
TORDENSKJOLDSGADE, 17

## Slide 51: BUILDING SERVICES
Water suply
first floor
TORDENSKJOLDSGADE, 17

## Slide 52: BUILDING SERVICES
Water suply
second floor
TORDENSKJOLDSGADE, 17

## Slide 53: BUILDING SERVICES
Technical room
TORDENSKJOLDSGADE, 17

## Slide 54: BPM
Personal planning
Final cost estimation
Project scheme schedule
Cash flow
Building site planning
  http://prezi.com/dqufbooyiyun/edit/?auth_key=z81ygl9&follow=lv55kyv6co84#5
TORDENSKJOLDSGADE, 17

## Slide 55: DETAIL DESIGN 1
Building application form
Plans
Sections
Details
http://prezi.com/ojenjweibiio/edit/?auth_key=l31v8oi&follow=lv55kyv6co84#12
TORDENSKJOLDSGADE, 17

## Slide 56: DETAIL DESIGN 1
TORDENSKJOLDSGADE, 17
Building application form
  Cadastral apelation: 3029 Horsens Bygrunde

## Slide 57: DETAIL DESIGN 1
TORDENSKJOLDSGADE, 17
Building application form
“Refurbishment of existing building by demolition of walls, stairs, change of use into a library, addition of a new structure.”

## Slide 58: DETAIL DESIGN 1
Building application form
Plans
Sections
Details http://prezi.com/ojenjweibiio/edit/?auth_key=l31v8oi&follow=lv55kyv6co84#12
TORDENSKJOLDSGADE, 17

## Slide 59: DETAIL DESIGN 1
TORDENSKJOLDSGADE, 17
- THANK YOU FOR YOUR ATTENTION -